## Slide 1
The increasing awareness of climate change and its implications presents unprecedented challenges to the resilience and expected lifetime of engineered structures and infrastructures
Depending on local conditions and data availability, it is not clear whether traditional and well tested design paradigms, based on the assumptions of stationarity of the statistical models describing environmental loads and hazard frequencies, are still reliable in the face of a changing climate.
Reduction of emissions related to construction and management.
Several authors, however, argue that meeting climate change challenges does not require abandoning conventional engineering practice. Instead, it requires systematically embedding sustainable design and climate-conscious decision-making into standard engineering work processes.
Actions on Structures and Infrastructures in a Changing Climate
Introduction Outline
Rflor, CC BY 4.0 <https://creativecommons.org/licenses/by/4.0>, via Wikimedia Commons

## Slide 2
Premise
On the technical side, there is increasing need to integrate climate-induced variability and uncertainty into the estimation of actions—including wind loads, wave forces, precipitation intensities, thermal loads, and coupled multi-hazard interactions—that structures must withstand throughout their service life.
Emerging frameworks advocate for a risk-informed, dynamic design approach that accounts for both current climate extremes and plausible future states. This requires extending the concept of design load beyond the assumption of stationarity therefore obtaining design forcing that evolve with projected climate trajectories.
How to do that?
We will consider:
Classical extreme value theory (the importance of statistics);
Non stationary extreme value theory;
Stochastic generation;
Climate models.

## Slide 3
Pros and cons
Non-stationary models have a larger number of parameters and therefore entail a larger uncertainty of predictions. What if the obtained design load is characterised by large uncertainty?
Climate models reliability and downscaling.
Compound events - multi-hazard interactions. Climate change can simultaneously influence wind, precipitation, storm surge, and seismic soil conditions, leading to complex loading regimes that are poorly captured by single-hazard models. Research is increasingly focused on developing multi-hazard frameworks that consider correlation structures and cascading effects, as well as on incorporating compound event analysis into reliability assessments.

## Slide 4
Changing mindset
Adaptive design strategies are also gaining traction.
These include performance-based design criteria that allow for planned future modification based on updated climate information, and the use of digital twins and real-time monitoring systems to track evolving environmental loads and structural responses. Machine learning and data assimilation techniques offer promising avenues for continuously refining action estimates from observational data streams, enabling more responsive and resilient infrastructure management.
No regret strategies.

## Slide 5
Key points
Key sustainable design principles relevant to climate change include:
Site master planning and design for ecology;
Potable water conservation, and minimizing waste water discharges;
Process design to conserve water, energy and other natural resources;
Design provisions for phased construction to meet current needs with provisions for meeting future facility requirements;
provisions for adding sustainable design measures in future phases of construction, if not funded in the initial phase;
Passive design of facilities to save energy in plant and building operations, e.g. green roofs (vegetated); adequate insulation of building walls, roofs, pipes, ducts and vessels, to minimize fossil-fueled power consumption and emissions, high-efficiency electrical systems including high-performance lighting systems integrated with daylighting and smart controls;

## Slide 6
Key points
Onsite renewable energy with energy storage for peak use, meeting the power demand that has been reduced by all of the above concepts, and resulting in reduced fossil fuel demand / emissions;
Eco-purchasing and contracting: “greening” the supply chain to minimize climate change impacts of the supply chain;
Managed construction to protect the site’s natural resources, minimize pollution and waste and recycle or salvage surplus materials;
Neutralizing any additional capital costs by combining “hard” benefits (life-cycle cost savings and returns on investment) with “soft” benefits (intangible but real and significant);
Protection of ecological systems;
Life-cycle thinking rather than short-term cost optimization.

## Slide 7
Integrated Design Process
A central concept is the integrated sustainable design team. Traditional project delivery often separates disciplines, leading to fragmented decision-making. In contrast, an integrated team brings together engineers from multiple disciplines, procurement specialists, construction personnel, clients, and operators from the earliest project stages.
This integrated approach:
Enables cross-disciplinary trade-offs;
Prevents over-design and redundancy;
Maximizes energy and water efficiency;
Reduces greenhouse gas emissions at system level.
Importantly, sustainability is not treated as an “add-on,” but as an embedded requirement within the standard design workflow.

## Slide 8
Conceptual Design
The conceptual design phase is identified as the most critical stage for addressing climate change. Decisions made at this stage have the largest influence on long-term environmental performance and the lowest cost of implementation.
During conceptual design, the integrated team should:
Establish clear sustainability and greenhouse gases (GHG) reduction targets (e.g., percentage reductions relative to baseline designs);
Select site layout and building orientation to minimize energy loads;
Preserve natural site features and reduce land disturbance;
Incorporate passive design strategies such as daylighting and natural ventilation;
Evaluate renewable energy options and energy-efficient systems.
Preliminary energy modeling, lifecycle cost estimates, and GHG emission calculations are developed at this stage to guide decision-making. These early analyses form benchmarks that are tracked throughout the project lifecycle

## Slide 9
Preliminary Design
In the preliminary design phase, conceptual ideas are refined into technically robust systems. Energy models become more detailed, emissions estimates are updated, and material choices are evaluated for their embodied carbon content.
Key activities include:
Right-sizing systems using simulation tools instead of rules of thumb;
Identifying interactions between building envelope, HVAC, lighting, and process loads;
Evaluating alternative design solutions to reduce energy demand and emissions;
Updating lifecycle cost analyses to ensure economic feasibility.
Regular design reviews are conducted to verify that sustainability goals remain achievable as the design evolves.

## Slide 10
Detailed Design
During detailed design, sustainability objectives are translated into technical specifications, material requisitions, and procurement criteria. This includes:
Specifying low-embodied-carbon materials;
Prioritizing locally sourced materials;
Including energy and emissions criteria in bid evaluations;
Developing construction strategies that minimize fuel use, waste, and emissions.
At this stage, final versions of energy models, GHG inventories, and lifecycle cost estimates are completed, providing a clear basis for performance verification during construction and operation.

## Slide 11
Construction and Commissioning
The construction phase is not environmentally neutral; it contributes significantly to emissions and resource consumption. It is important:
Sustainable site planning;
Minimizing temporary facilities;
Tracking embodied energy of materials;
Reviewing design changes for their impact on sustainability goals.
Commissioning plays a critical role in ensuring that energy-efficient and low-emission systems perform as intended during operation. Commissioning activities may begin as early as the design phase and continue through start-up .

## Slide 12
Climate sensitive loads
We will refer to the loads that are driven by climate and therefore are sensitive to climate change. In principle, we may consider the following variables and their mutual interaction:
wind velocity;
wave frequency and height;
precipitation frequency, intensity and duration;
temperature.

## Slide 13
Climate sensitive loads
In general:
Effect of climate change on temperature is well known. There is a general increase after global warming at all time scales. Increases are not uniformly distributed in space. They are more pronounced in the Northern emisphere and generally more relevant in mountainous regions.
Understanding evolving wind patterns is essential because they influence weather extremes, renewable energy potential, and climate feedbacks. Climate change is altering wind dynamics by reshaping temperature and pressure gradients that drive atmospheric circulation. Observed shifts include changes in jet stream position, weakening of large-scale winds in some regions, and intensification of extreme wind events in others. These trends complicate climate prediction, as wind responds nonlinearly to warming, sea-ice loss, and land–ocean contrasts. Uncertainty remains high due to limitations in long-term wind observations and model resolution, especially for regional and extreme winds.

## Slide 14
Climate sensitive loads
Changing wave climates have major implications for coastal erosion, offshore infrastructure, and marine ecosystems under future warming. Climate change is influencing sea wave dynamics primarily through altered wind patterns, storm tracks, and storm intensity. Evidence suggests regional increases in extreme wave heights, even where mean wave conditions show little change.
Attribution remains challenging because wave trends reflect both local winds and remotely generated swell, linking distant climate processes. Model projections are uncertain, particularly for extremes, due to coarse resolution and limited historical wave observations.
Effect of climate change on precipitation is still poorly understood, for the very local behaviour of convective rainfall, the large range of time scales to be considered and the diversity of associated dynamics (e.g., convective versus large scale frontal perturbations). Evidence suggests that short duration precipitation, which is essentially convective, is increasing in both frequency and intensity, for the higher water retention capacity of the atmosphere and its increased energy. There is no strong evidence regarding precipitation aggregated at monthly and annual time scale and larger. There is no clear and general evidence regarding frequency, intensity and duration of droughts.

## Slide 15
Spatial distribution of global risk
Inform Report 2024 by the European Commission

## Slide 16
Spatial distribution of global risk
Inform Report 2024 by the European Commission

## Slide 17
Spatial distribution of global risk
Inform Report 2024 by the European Commission

## Slide 18
What approach to estimate loads in the presence of
climate change?
Traditionally, load estimation for the above considered variables (temperature, wind, wave and rainfall related variables) is carried out through:
Code- and standard-based methods (e.g. design wind speeds, pressure coefficients from standards like ASCE, Eurocode);
Extreme values statistical theory (probably the most used approach);
Deterministic or stochastic simulation;
Empirical approaches (now less used).
If the use of codes is recommended or required, the solution is relatively simple, by making references to prescribed or suggested codes and guidelines. In the presence of climate change load estimated may be eventually more severe.

## Slide 19
Extreme value theory
Extreme value theory or extreme value analysis is the study of extremes in statistical distributions. It is widely used in many disciplines, such as structural engineering, finance, actuarial science, economics, earth sciences, traffic prediction, and geological engineering. For example, extreme value theory might be used in the field of hydrology to estimate the probability of an unusually large flooding event. Similarly, for the design of a breakwater, a coastal engineer would seek to estimate the wave for a given return period and design the structure accordingly.
Extreme value theory is used to model the risk of extreme, rare events, such as the 1755 Lisbon earthquake.

## Slide 20
Deterministic and stochastic simulation
A deterministic simulation is a simulation of a system that is obtained through a deterministic model, namely, a model that establishes a one-to-one relationship between input and output variables. The deterministic model leads to a point prediction which is not associated to any uncertainty assessment. For this reason, often the deterministic simulation is accompanied by uncertainty assessment.
A stochastic simulation is a simulation of a system that has variables that can change stochastically (randomly) with individual probabilities. Realizations of these random variables are generated and inserted into a model of the system. Outputs of the model are recorded, and then the process is repeated with a new set of random values. These steps are repeated until a sufficient amount of data is gathered. In the end, the distribution of the outputs shows the most probable estimates as well as a frame of expectations regarding what ranges of values the variables are more or less likely to fall in (from Wikipedia).